Board Meeting Minutes

Government Camp Sanitary District

October 9, 2023

4:00 p.m. at Mt. Hood Cultural Center & Zoom Video conference.

Board Members:

Present: Andrew Tagliafico, Board Chair; Ed Rogers Jr., Vice Chair.

Absent: Cornelia Gunderson.

Board members that attended via Zoom audio conference: Dan Mancuso, Ulla Brunette.

Others Present:

Ken Johannes, Senior Plant Operator; Dustin Thorson, Operator I; Brett Fischer, Erik Hoovestol, Firwood Design Group.

Other attendance via Zoom audio conference: Tom Puttman, Facility coordinator.

Proceedings:

Meeting called to order at 4:00 PM by Andrew Tagliafico.

Agenda:

- Ed Rogers Jr. moved to approve the agenda as presented. Seconded by Dan Mancuso. Motion passed.

Bills:

- Ed Rogers Jr. moved to approve the bills as presented. Seconded by Dan Mancuso. Motion passed.

Bank account update:

General Funds – US Bank  $371,200.83

State Pool Acct. #5206 SDC funds  $370,737.36

State Pool Acct. #5260 Capital funds  $161,621.10

State Pool Acct. #6531 Debt funds  $14,090.29

Minutes:

- Ed Rogers Jr. moved to adopt last month’s meeting minutes. Seconded by Dan Mancuso. Motion passed.

Plant Report – Thomas Puttman & Ken Johannes:

Monthly Operator Report Summary – September 2023

Treatment Plant – Flows

| Inflow Received | Current Month | Previous Month | Previous Year |
| --- | --- | --- | --- |
| Average | 0.084 MGD | 0.097 MGD | 0.074 MGD |
| Maximum | 0.123 MGD | 0.125 MGD | 0.120 MGD |
| Minimum | 0.068 MGD | 0.079 MGD | 0.047 MGD |

Plant Operator report continued.

Treatment Plant – Effluent Results  (final results pending)

| Effluent Results | Current | Previous | Limit |
| --- | --- | --- | --- |
| cBOD | 4 mg/L @ 94% | 2 mg/L @ 98% | 10 mg/L @ >85% |
| TSS | 3 mg/L @ 98% | 2 mg/L @ 97% | 10 mg/L @ >85% |
| E Coli | ND cfu/100 ml | ND cfu/100 ml | 126 cfu/100 ml |
| NH3-N | 0.05 mg/L | 0.14 mg/L | -- |
| pH | 6.5 | 6.5 | - – 9.0 |

Operations, Maintenance, and Regulatory

- No issues.

Biosolids Management

- Sludge hauling:  Complete.

Call Outs and Locates

- 22 Locates.

- 2 Call Outs (Emergency Locates).

Collections System Management

- 2023 Inspections completed.

- 2022/23 Repairs completed.

Other

- Brewery Discharge Agreement

DEQ SRF Loan – Erik Hoovestol:

- Erik is completing the required forms when requested by DEQ.

2023 Sewer rehabilitation and repairs:

- Beam Excavating Inc. has completed the original work from the contract.

- It appears that the project created a ground water issue where the new Bergstrasse sewer line ended. Water is coming out of the cleanout and running down the road into another property owner’s yard.

- Beam Excavation could install a French drain to move the water to the natural ditch on the road. This would be a change order on the contract and would cost the District an additional $4,030.00.

- Andrew Tagliafico approved the change order verbally with Beam Excavating for $4,030.00

- Andy Tagliafico and Erik Hoovestol will inspect the site and make sure no additional maintenance is needed.

Mt. Hood Brewery, Account #159:

- Puttman Infrastructure has provided a final draft agreement outline for the Brewery’s future connection to the District Treatment plant.

- The Board would like the draft to be reviewed by CURRAN-McLEOD Inc. and have the District’s Attorney draft the final agreement.

Liability insurance for the Districts main sewer lines:

- Andrew Tagliafico thought insurance for the sewer lines seems reasonable.

- The Board agreed to have CURRAN-McLEOD Inc. review the information and provide feedback.

Mt. Hood Skibowl – New retail/ticket office to be built on the East side:

- Mt. Hood Skibowl is looking into building a new Ticket office/Retail building on the East side next Spring.

- Restrooms to be included in the project –

  - Women’s restroom with three toilets.

  - Men’s restroom with two urinals and one stall with toilet.

  - Two ADA-compliant restrooms with one toilet each.

- The Board will review the Tables to determine the SDC and EDU fees.

- The District Secretary will verify the number of SDC’s paid on this account to date.

There being no further business, the meeting was adjourned.

Minutes prepared by Secretary, Ulla Brunette.